|  |
| --- |
| **Questionnaire for gas treatment selection**  |
| Customer |  |
| Address |  |
| Telephone |  |
| E-mail |  |
| Contact person |  |
| № | Type of data | Parameter | Value |
|  | Project Name |  |  |
|  | Region |  |  |
|  | Climatic conditions | Minimum temperature | °С |
| Maximum temperature | °С |
|  | Equipment package will be installed | In open air (container set) /In the customer building (skid mounted with placing both the control and power panel in a separated room) |
|  | Purpose of the compressor set | Indicate  |
|  | Gas type  | Natural / associated oil gas (if associated oil gas is used please attach gas composition) |
|  | Reserve for gas lines | 2х100% |
| 3х50% |
|  | Type of gas filter | Coalescent filter with draining condensate to the external tank / cyclone type  |
|  | Inlet pressure range | Bar / MPa abs. (g) | minimummaximum |
|  | Inlet gas temperature range  | °С | minimummaximum |
|  | Required pressure discharge gas line 1 | Bar / MPa abs. (g) | minimummaximum(type of gas consumer) |
|  | Required temperature discharge gas line 1 | °С | minimummaximum |
|  | Required flow range discharge gas line 1 | Nm3/h (mln. m3/d) | minimummaximum |
|  | Required pressure discharge gas line 2 | Bar / MPa abs. (g) | minimummaximum(type of gas consumer) |
|  | Required temperature discharge gas line 2 | °С | minimummaximum |
|  | Required flow range discharge gas line 2 | Nm3/h (mln. m3/d) | minimummaximum |
|  | Gas heater type | Yes / No |
| electrical / with heated liquid from external boiler |
|  | Внешняя емкость для сбора конденсата External tank for gas condensate | Tank typeground based / underground | Volume, m3 |
|  | Gas measurement unit | Type technological / commercial | Flow range, Nm3/h |
| Quantity of measurement lines | Pc. |
|  |  | Type of measurement unit |  |
|  | Measurement unit for calorific value calculaton | Specify requirements |
|  | Measurement unit for water dew point / hydrocarbon dew point | Specify requirements |
|  | Fire fighting system | Powder / CO2 / not needed specify requirements  |
|  | Gas leakage system | Specify requirements |
|  | Additional requirements  |  |